FiberCom 10/100BaseT to 100BaseFX Bridging Media Converter
User’s Manual
1. Overview

Electro Industries’ FiberCom 10/100BaseT to 100BaseFX Bridging Media Converter (part # EI-FP-8110SA-25) provides 10/100Mbps communication between Cat 5 twisted pair Ethernet cables and Fiber Optic cables. The FiberCom protects your copper-wire investment, while extending the range of your communication capability and preparing your network for future optimization. 
FiberCom features include:

· Support for half-duplex and full-duplex transmission.
· Ability to extend range of communication from 1000 meters maximum (with twisted pair alone) to 80 kilometers.
· Built-in switching core to implement flow control and reduce broadcast packets.
· Support for the transmission of extra long packets (1600 bytes) over VLAN. 
· Built-in 128kB RAM for data buffering.
· Support for auto MDI-MDIX function for seamless device connection.
· Support for link pass-through function (LPF) for fault detection.
· Fiber optic immunity to electromagnetic interference (EMI) improves data transmission, especially in environments with high EMI, e.g., a manufacturing facility’s plant floor.
IMPORTANT! Inspect your FiberCom package to ensure it contains the following items:

1. FiberCom Media Converter

2. External Power Supply

2. Specifications

	Parameters
	Specifications

	Access mode
	10/100  Mbps Gigabit Ethernet

	Standards
	IEEE802.3 10BaseT Ethernet, IEEE802.3U 100BaseTX/FX Fast Ethernet, IEEE802.1Q VLAN, IEEE802.1p CoS, IEEE802.1D Spanning Tree MAC Bridges

	Wavelength
	850nm/1310nm/1550nm

	Transmission distance
	Dual-fiber single-mode: (32.8k to 393.7k)feet/

 (10/20/40/60/80/100/120)Km; Single-fiber single-mode: (32.8k to 262.5k)feet/ 10/20/40/60/80Km Category-5 twisted pair: 328 feet/100m

	Port
	One RJ45 port: Connected to STP/UTP Category-5 twisted pair
One fiber port: Dual-fiber single-mode – ST fiber port (fiber size: 9/125μm)

	Conversion mode
	Medium conversion

	Delay
	<10μs

	Bit error rate
	<1/1000000000

	MTBF
	100,000 hours

	LED
	See chart on the next page

	Power
	90-265VAC Input using external power supply/ 5VDC Input jack

	Power consumption
	5W

	Operating temperature
	(50 to 131)°F/(10 to 55)°C

	Operating humidity
	5%~90% 

	Storage temperature
	(-40 to 158)°F/(-40 to 70)°C

	Storage humidity
	5%~90% (non-condensing)

	Dimensions
	1.02”/26mm(H)*2.75”/70mm(W)*3.69”/94mm(L) (height * width * length)  


[image: image2.jpg]


3. Connection

Connect the FiberCom Media Converter as follows:

a. Connect the network device (work station, hub or switch) with RJ45 

interface to the FiberCom’s RJ45 jack, using Cat-5 twisted-pair. 

b. Connect the fiber optic cable to the FiberCom’s ST Fiber jack.
c. Plug the supplied Power supply into the FiberCom.

d. Once the devices are powered on, the FiberCom LEDs 

indicate connection status. See next section.

4. Front Panel Indicators
[image: image1.png]



	Number
	LED
	Function
	Status
	Meaning

	1
	PWR
	Power LED
	ON
	Power is ON 

	
	
	
	OFF
	Power is OFF 

	2
	FP
	Fiber port link/action status LED
	ON
	Fiber link is ACTIVE

	
	
	
	OFF
	Fiber link is INACTIVE

	3
	Link/Act
	UTP port link/action status LED
	ON
	Data is being received

	
	
	
	Blink
	Data has been transmitted  (not currently transmitting)

	
	
	
	OFF
	Data is not being sent out

	4
	100M
	UTP port speed LED
	ON
	100M speed

	
	
	
	OFF
	10M speed

	5
	FDX/COL
	Duplex Mode
	ON
	Full-duplex

	
	
	
	Blink
	Data collision (Half-duplex mode, only)

	
	
	
	OFF
	Half-duplex


5. Troubleshooting 

If the FiberCom Media Converter fails to operate, follow these steps:

	1. Is the FiberCom’s “PWR” LED

    illuminated? (See page 10)


	No: 

· Is the power supply compatible with the AC outlet?

· Is the power supply installed properly in the FiberCom and the AC outlet?

· Contact EIG’s technical support.

	
	Yes: continue to step 2.

	2. Is the “FDX/COL”LED 

    illuminated on a port with 

    twisted-pair cable installed?


	No: 

· The FiberCom has selected half-duplex mode.

Yes:

· The FiberCom has selected full-duplex mode.

    If the mode is not correct, disconnect and reconnect the 
    twisted pair cable to restart the initialization process.

    Continue to step 3.

	3. Is the “Link/Act” LED 

    illuminated on the on the fiber 

    cable port?


	No:

· Check the fiber cables for proper connection.

· Verify that the TX and RX cables are connected to the FiberCom’s RX and TX ports, respectively.

	
	Yes: continue to step 4.

	4. Is the “100M” LED

    illuminated on a port with 

    twisted-pair cable installed?
	No: 

· The FiberCom has selected 10Mbps operation.
Yes:
· The FiberCom has selected 100Mbps operation.

    If the speed is not correct, disconnect and reconnect the 
    twisted pair cable to restart the initialization process.



E Electro Industries/GaugeTech
“The Leader in Power Monitoring and Smart Grid Solutions”

1800 Shames Drive

Westbury, NY 11590

(Tel) 516-334-0870

(FAX) 516-338-4741

www.electroind.com






Doc# E201701 V.1.03
                                                                                                              January, 2011
FCC RFI Statement


Federal Communications Commission (FCC) Radio Frequency Interference 


This device complies with part 15 of FCC regulations. 








RJ45 


Jack





Fiber 


Jacks





Power Supply Input Jack














