SPECIFICATION FOR ENTERPRISE WIDE  SCADA MONITORING AND 
CONTROL SYSTEM

- SUMMARY

The application suite shall provide a complete and comprehensive enterprise-wide SCADA solution that consists of a fully customizable graphical HMI interface module and a module that offers advanced serial and network communication with meters, advanced charting, graphing, and analysis of data, viewing of waveform records with comprehensive data analysis, full reporting capability, audible and email alarms of selected conditions, web-browser access to all meter data, and an automation component and launchpad for managing network meters, including auto discovery and grouping of EIG meters.

- PRODUCT

The application suite shall consist of the following modules:

- The SCADA (Supervisory Control and Data Acquisition) HMI (Human Machine Interface) software module shall provide a complete, fully customizable, graphical view of the monitoring system. The HMI Module shall have a runtime mode and a configuration mode.

- The HMI module shall utilize a client/server architecture which supports hot standby server redundancy if required.

- The HMI software module shall support the following capabilities:

  - Fully customizable graphical interface with a library of pre-programmed symbols.

  - Support for simultaneous users.

  - Zero-install HTML5 client that supports Chrome, Firefox, and MS Edge browsers.

  - Real time viewing of meter data, such as Volts, Amps, Watts, Vars, Power Factor, Frequency, and other data available from each meter.

  - Scalability after installation, with support for over 100k tags and unlimited number of screens and devices.

  - Automatic report generation with export capabilities to PDF, CSV, and XLSX formats.

  - User-configurable alarms and setpoints, including emailing and visual and audio notifications on selected event occurrence, that are configurable to alter the appearance of objects on the graphical interface.

  - Control events based on preset setpoints and logic.

  - Remote control of hardware, e.g., breakers and valves.

  - Direct access via Ethernet or network, which can be set for view-only public access.

  - Multiple protocol support, including Modbus TCP, DNP3, BACnet, and IEC 61850.

  - Advanced multi role-based security.

  - Custom energy billing and cost allocation with user-specific rates, time of use, holidays, and seasons.

  - Multi-monitor support and linking of multiple screens.

  - Multiple languages and capability to change the language at runtime.

  - Full back-up capability for all project configuration files.

  - ODBC compliant database and OPC-UA data access for integration with  third party systems and reporting tools.

  - Ability to integrate with third party meters, including water, gas, and steam meters.

  - Ability to use scripting languages such as VB, C#, and Python for custom functionality.

  - Support for the following operating systems:

    - Windows 10

    - Windows 11

    - Server 2016

    - Server 2019

    - Server 2022

- There shall be a configuration and data collection software module that shall allow connection with remote meters via serial or ethernet communication.

- The configuration and data collection software module will be compatible with Electro Industries metering equipment, exclusively.

- The configuration software module shall provide a means for updating meter firmware remotely over all communication media.

- The configuration software module’s reporting function shall support automatic export to PQDIF, COMTRADE, and HHF file formats.

- The configuration software module shall have automated meter management, which includes:

        - Auto-discovery of network meters based on configurable IP address range or manual addition of network meters to the centralized location.

        - A means to blacklist ranges of IP addresses that will not be searched.

        - A periodic network scan of meters to confirm that they are online and functional.

        - Automated detection of meter wiring and installation errors.

        - Error logs, status logs, and diagnostic tools for forensic analysis of the complete energy system’s integrity.

        - Grouping of meters to facilitate automated log retrieval at user-programmed intervals.

C. 	The Enterprise wide SCADA Monitoring and Control System shall be Electro Industries/Gauge Tech’s HMIPQA+™ SCADA application and the 
 CommunicatorPQA® application with MeterManagerPQA® 
 automation software.

To order, contact Electro Industries/Gauge Tech at:

Electro Industries/Gauge Tech

1800 Shames Drive

Westbury, NY 11590

Phone: 516-334-0870

Fax: 516-338-4741

www.electroind.com

EIG_sales@hubbell.com