SPECIFICATION FOR ENTERPRISE-WIDE 
 SCADA MONITORING AND CONTROL SYSTEM

- SUMMARY

The application suite shall provide a complete and comprehensive enterprise-wide SCADA solution that consists of a fully customizable graphical HMI interface module and a module that offers advanced serial and network communication with meters, advanced charting, graphing, and analysis of data, viewing of waveform records with comprehensive data analysis, full reporting capability, audible and email alarms of selected conditions, web access to all meter data, and an automation component and launchpad for managing network meters, including auto discovery and grouping of meters.

- PRODUCT

The application suite shall consist of the following modules:

- The SCADA (Supervisory Control and Data Acquisition) HMI (Human Machine Interface) software module shall provide a complete, fully customizable, graphical view of the monitoring system. The HMI Module shall have a runtime mode and a configuration mode.

- The HMI module shall utilize a client/server architecture which supports redundant server structure.

- The HMI software module shall have the following capabilities:

- Shall support simultaneous users

- Shall provide real time viewing of meter data, including control parameters

- Shall be fully scalable after installation.

- Shall provide report generation

- Shall allow user configurable alarms and setpoints, including emailing and paging, SMS text messages, and visual and audio notifications on selected event occurrence, and shall be configurable to alter the appearance of objects on the graphical interface

- Shall support control events based on preset setpoints and logic

- Shall support web-enabled remote control of hardware, e.g., breakers and valves

- Shall support configured demand response and load shedding

- Shall support customizable graphical displays with a library of pre-programmed symbols

- Shall support direct access via Ethernet or network, which can be set for view only public access

- Shall support multiple protocols, including Modbus TCP, DNP3, BACnet, and IEC 61850

- Shall provide advanced multi role-based security

- Shall support custom energy billing and cost allocation, in real time, with user-specific rates, time of use, holidays, and seasons

- Shall support multi-monitor support and linking of multiple screens

- Additionally, the HMI module shall also provide:

- Online instructions and context-sensitive help

- Wizards for easy setup of configurable devices and the main control unit

- Genies already programmed for metering devices and configured to access and show real-time readings

- Pre-programmed tags for trending, graphing, reporting, events logging, and alarms

- Fully customizable graphical interface

- Primary and standby reports server (for backup)

- Capability to change language at runtime and support for multiple languages

- Full backup capability for all project files

- ODBC compliant database for integration with an existing building management system

- Capability to calculate boiler and motor efficiency by measuring inputs and outputs

- Ability to integrate with 3rd party meters, including water, gas, and steam meters

- There shall be a configuration and data collection software module that shall allow connection with remote meters via serial, ethernet, modem or wireless cellular communication.

- The configuration software module shall allow configuring of local and remote meters, automatically collecting stored meter logs, and automatically pushing data to the cloud-based system.

- The configuration software module shall provide a means for updating meter firmware remotely over all communication media.

- The configuration software module’s Reporting function shall support automatic export to PQDIF, COMTRADE, and HHF file format.

- The configuration software module shall have automated meter management which includes:

  - Auto discovery of network meters based on configurable IP address range; or manual addition of network meters to the centralized location

  - A means to blacklist ranges of IP addresses that will not be searched

  - A periodic network scan of meters to check that they are online and functional

  - Automated detection of meter wiring and installation errors

  - Error logs, status logs, and diagnostic tools for forensic analysis of the complete energy system’s integrity

  - Grouping of meters to facilitate automated log retrieval at user-programmed intervals.

C. 	The Enterprise-wide Energy Management System shall be Electro 
             Industries/Gauge Tech’s HMIPQA™ SCADA application and the 
             CommunicatorPQA™ application with MeterManagerPQA™ automation 
             software.

- The complete ordering grid for the approved modules is provided below.

| Software Module | Description | Model Number | Details |
| --- | --- | --- | --- |
| HMIPQA™ Application | HMI with 150 Points | HMIPQA150 | Up to 10 Meters |
| HMIPQA™ Application | HMI with 500 Points | HMIPQA500 | Up to 50 Meters |
| HMIPQA™ Application | HMI with 1500 Points | HMIPQA1500 | Up to 100 Meters |
| HMIPQA™ Application | HMI with 5000 Points | HMIPQA5000 | Up to 250 Meters |
| HMIPQA™ Application | Allow Simultaneous Clients. One License access through Internet. | HMIPQAC (Specify number of clients) | As many Simultaneous Clients as needed |
| CommunicatorPQA™ 5.0 Pro Application | Base Professional License Seat, One user. Includes MeterManagerPQA™ Automation Module | COMPQA5P | Automation, system comparisons and Enterprise meter management |

- To order, contact Electro Industries/Gauge Tech at:

Electro Industries/Gauge Tech

1800 Shames Drive

Westbury, NY 11590

Phone: 516-334-0870

Fax: 516-338-4741

www.electroind.com

sales@electroind.com